|  |  |  |
| --- | --- | --- |
| Pollutant | Daily Maximum Limit(a) | Units |
| Arsenic | 0.10 | mg/L |
| Cadmium | 0.06 | mg/L |
| Chromium | 21.21 | mg/L |
| Copper | 1.85 | mg/L |
| Lead | 0.66 | mg/L |
| Mercury | 0.002 | mg/L |
| Molybdenum | 0.27 | mg/L |
| Nickel | 1.24 | mg/L |
| Selenium | 0.25 | mg/L |
| Silver | 2.89 | mg/L |
| Zinc | 5.16 | mg/L |
| Biochemical Oxygen Demand  (BOD5)(b) | 9,000 | mg/L |
| Total Suspended Solid (TSS)(b) | 14,000 | mg/l |